## Slide 1: Integrating Renewable Resources into the Grid as we Transition to 100% Renewable Energy
Insert your organizaion’s
logo here
Angelina Galiteva
Vice Chair of California Independent system Operator & Founder and Board President, Renewables 100 Policy Institute

## Slide 2
To study and accelerate the global transition to 100% renewable energy in all sectors – electricity transportation, heating cooling, water treatment and fuels .
Founded in 2007
Mission:

## Slide 3
Mapped so far: Over 356.7 million people (and counting…) who have shifted or are committed to shifting within the next few decades to 100% renewable energy in at least one sector.
Highlights
Go 100% Renewable Energy Project Shows how and where 100% Renewable Energy is happening now.
It’s not a fantasy for someday, but a reality for today
Notes: There are about 40 more countries to map since the Climate Vulnerable Forum pledge at COP 22, and about 5 more cities to map just from the last few weeks.

## Slide 4: Total investments per technology, 2015-40 (US$)
Source: Bloomberg New Energy Finance
RENEWABLES TAKE
65% OF THE $12.2 TRILLION POWER INVESTMENT TO 2040

## Slide 6: NEX clean energy index 2013 – 2015 ytd
Note: Values as of 08 September 2015; Stowe and S&P 500 rebased to 100 on 01 Jan 2013
Source: Bloomberg New Energy Finance
“Divestment by value destruction”

## Slide 7: Vistra/Luminant’s recent Texas retirement announcements
Images: Luminant; various
Big Brown, Freestone County
1,150 MW
Monticello, East Texas
1,880 MW
Sandow, Milam County
1,137 MW

## Slide 8: US power sector fuel mix
Source: EIA
Change in generation 2007-16
TWh/yr

## Slide 9: Solar and wind attract 60% of new investment in power generating capacity
Source: Bloomberg New Energy Finance
Source: Bloomberg New Energy Finance
Source: Bloomberg New Energy Finance
Chart: $10.2 trillion
| Fossil fuels | Zero-carbon
 | 1473 | 8739
Chart: ($ trillion - 2016 real)
| Wind | Solar | Nuclear | Hydro | Gas | Coal
 | 3.267 | 2.777 | 1.38 | 1.104 | 0.804 | 0.664
Investment, by technology, 2017-2040
Investment, by technology, 2017-2040
Source: Bloomberg New Energy Finance, NEO 2017
Notes: Solar & wind – 60% of investment
  32% of total to wind
  27% to total solar

## Slide 10: Why renewable jobs matter

## Slide 11
Source: Bloomberg New Energy Finance, various
9 July 2015
Denmark 140% wind
May 2016
Germany 67% wind & solar
25 December 2016
Scotland
153% wind
23 March 2017
CAISO 46% wind & solar
9 April 2017
UK 56% wind & solar
13 February 2017
SPP 52% wind
26 December 2014
South Australia
61% wind & solar
November 2015
Spain
70% wind
November 2017
ERCOT 45% wind
High Levels of Renewable Penetration
Notes: Make pretty

## Slide 12: California’s leaders are aggressively pursuing a low carbon future.
Aggressive renewable energy goals
Decarbonization is creating opportunities to develop a high renewables and high DER energy service industry.
33% by 2020
60% by 2030
Deep greenhouse gas (GHG) reduction goals
2020 Target
Reduce GHG emissions to 1990 levels
2030 Target
40% below 1990 levels
2050 Target
80% below 1990 levels
Robust electric vehicles goal: 5.0 million by 2030, $2.5B investment in new charging stations
100% by 2045
10,000 MW of distributed generation by 2021; 1.3 GW of battery storage by 2024
Notes: California is ahead of schedule for meeting the RPS requirements: 25% in 2014.

## Slide 13: U.S. Renewable Resources
Resource | Solar PV/CSP) | Wind | Geothermal | Water Power | Biopower
Theoretical Potential | 155,000 GW (PV) 38,000GW (CSP) | 11,000 GW (onshore) 4,200 GW (offshore to 50 nm) | 38 GW (conventional) 4,000 GW (EGS) | 68 GW | 62 GW
Achieving 100% Renewables include:
- Grid modernization
- Storage options
- Transmission
- Behaviors/education
- Resources
- Cooperation
….
Notes: Sustainable energy production from carbon neutral sources is slow. We need to step up deployment to deal with environmental challenges.
The total U.S. electricity generation is 1168GW (2014).
Let’s consider the total electricity generation in relation to renewable energy resources, the theoretical potential for renewable energy resources, and the actual renewable generation by source.
This renewable energy resource map identifies renewable resource geographic concentration. The overlapping grid shows transmission interplay with the renewable energy. This data demonstrates the opportunity to increase the use of clean energy technologies to meet the current electricity demand, and the need to address energy systems integration.
Generation stats source EIA, 2015

## Slide 14: The California Independent System Operator (CAISO)
Nonprofit public benefit corporation
  created by CA statute
  regulated by the Federal Energy Regulatory Commission (FERC)
  not a government agency
One of 38 balancing authorities in the western interconnection
50,270 MW record peak demand (7/24/2006)
Serving 80% of CA & bit of NV
31,000 daily market transactions
$9.3 billion market
30 million people served
Notes: All-time season peak = 50,270 MW set on 7/24/2006
Total RPS resources = 21,951.64 MW 44%
Max Demand Served by All Renewables = 73.9% set on 5/26/2018

## Slide 15: Energy storage technologies are essential to achieve California’s clean energy goals
Energy Storage Benefits
Reduce emissions of greenhouse gases
  Energy storage can displace the use of fossil fuels to generate electricity and reduce gasoline usage in vehicles
Reduce demand for peak electrical generation:
  Energy storage can be used in place of natural gas peaking plants in peak electricity demand hours
Defer or substitute for an investment in generation, transmission, or distribution
  Energy storage can complement fluctuations in energy from solar and wind resources
Improve the reliable operation of the transmission or distribution grid
  Energy storage technologies can provide essential reliability services including frequency regulation, voltage support, ramping needs and time-of-use bill management

## Slide 16: The duck turns 10 years old: Actual results are approximately four years ahead of original estimates
Typical Spring Day
Net load of 7,149 MW on 2/18/18
Actual 3-hour ramp of 14,777 MW on 3/4/18

## Slide 17: Growth of renewables to achieve 60% by 2030 is expected to be largely solar

## Slide 18: Behind the meter solar is expected to grow by approximately 15,000 MW by 2030

## Slide 19: Hybrid energy storage projects in the interconnection queue are dominated by solar + battery configuration
Chart: Types of Energy Storage Projects Active in CAISO's Generation Interconnection Queue (as of September 05, 2017)
| Stand-alone storage | Storage + Solar PV | Storage + Wind
 | 11778 | 12183 | 56

## Slide 20: CAISO has seen an explosive growth in large-scale battery storage capacity in the last five years

## Slide 21: CAISO has seen an explosive growth in large-scale battery storage capacity in the last five years

## Slide 22: Batteries in wholesale markets deliver value in different timescales
Source: Bloomberg NEF (CAISO Symposium-2018)
Resource Adequacy Capacity markets | Energy (Day-Ahead) | Energy (Real-Time) | Ancillary Services
Years | Hours | Minutes | Seconds
Daily dispatch
Intra-hourly adjustments
Frequency control
Peak load firming
Market
Delivery Window
Passive market | Active markets
Additional use-cases will add complexity and value
Notes: YS

## Slide 24: California has a variety of advanced energy storage technologies operating today
Thermal Energy Storage with Ice
Vehicle-to-grid demonstration
Molten Sulfur Energy Storage Used for Back-up Power
Revolutionizing Grid-connected Energy storage
Integrated Solar Photovoltaic Energy storage
New Life for Electric Vehicle Batteries
Rechargeable Electrolytes
Capturing Wind
Lithium-Ion Battery Supports Renewable Energy Integration
Hybrid Technology
Hydrogen – Electrolytic (Future under SB 1369)

## Slide 25
Central Fresno Transmission System
Transmission
Transmit bulk power from generation facilities to distribution substations
Largely network design

## Slide 26
Central Fresno Transmission and
Distribution Systems
Distribution
Distributes electric power to end users (customers)
Radial design
Requires various levels of granular review

## Slide 27: Success across California
Source: UCLA Luskin Center, 2017
Source: Clean Power Exchange

## Slide 28: EIM and associated benefits grow
North Western Energy signed implementation agreement – planned entry in 2021.
BANC/SMUD begins parallel operations at midnight, January 31st/February 1st.
Continue to work with BPA in their process towards signing an implementation agreement.
Gross benefits since November 2014 $564.88 million

## Slide 29: Evolving structure of power supply - California
First week of May
2012 (actual)
Source: CAISO OASIS; CEC proposed IRP; LM Power; CESA; Bloomberg New Energy Finance
First week of May
2017 (actual)
First week of May 2030 (modelled)
Huge ramp rates up and down
Lots of DR, storage and export - or curtailment
No more “baseload”

## Slide 30: Digitization technologies
Existing technologies driving digitization
Big data
Batteries
Smart grid
Electric vehicles
Demand response
Home energy management
Cloud storage
Behind the meter generation
Emerging technologies driving digitization
DERMS
Machine learning and AI
Blockchain
Edge processing
Smart data
Cyber security
Virtual power plants
Internet of Things
Source: Bloomberg New Energy Finance

## Slide 34
Decarbonize Bulk Grid
Decentralize
Electrify Economic Sectors
Enable sectors to provide grid services
Regionalize for Visibility & Control
A new “Low Carbon Circle”
The future is:
Digitized,
Decentralized,
Decarbonized, and
Democratized
= Opportunity for Storage